## Final
Material | Description | BOVA 1.0 3T | BVA 1.0 24 (2 Ton) | BVA 1.0 36 (3 Ton) | BVA 1.0 48 (4 Ton) | BVA 1.0 60 (5 Ton) | BVA 2.0 24 (2 Ton) | BVA 2.0 36 (3 Ton) | BVA 2.0 48 (4 Ton) | BVA 2.0 60 (5 Ton) | BOVA 1.0 5T | BOVA 2.0 3T | BOVA 2.0 5T | IDP | IDS & IDP
8733941906 | Mounting Bracket, Motor |  | X | X | X | X | X | X | X | X |  |  |  | X | No
8733941886 | Bracket, Mounting |  | X | X | X | X | X | X | X | X |  |  |  |  | No
8733941882 | Ground Lug |  | X | X | X | X | X | X | X | X |  |  |  |  | No
8733941901 | Drain Pan Clamp |  | X | X | X | X | X | X | X | X |  |  |  |  | No
8733941926 | Blower Assy, Wrapper/Wheel |  |  | X | X | X |  | X | X | X |  |  |  |  | No
8733951083 | Transformer - BVA Indoor unit | [5 empty] | X | X | X | X |  |  |  | X | No
8733953202 | Indoor Control Board | [5 empty] | X | X | X | X |  |  |  | X | No
8733953244 | T2 Sensor | [5 empty] | X | X | X | X |  |  |  | X | No
8733941923 | Drain Pan, Vertical |  |  | X | X | X |  |  | X | X |  |  |  |  | No
8733951082 | #N/A | [5 empty] | X | X | X | X |  |  |  | X | No
8733941911 | Duct, Discharge |  |  |  | X | X |  |  | X | X |  |  |  |  | No
8733953213 | Refrigerant Line Access Panel | [5 empty] | X | X | X | X |  |  |  |  | No
8733941831 | Rubber Cap | X | [8 empty] | X | X | X |  | No
8733953177 | Outdoor Control Board | [11 empty] | X | X | Yes
8733941847 | Motor installation board assembly | [9 empty] | X | X | X | X | Yes
8733941801 | Nut | X | [8 empty] | X | X | X |  | No
8733941918 | Support Bracket (Lower) |  |  |  | X | X |  |  | X | X |  |  |  |  | No
8733941884 | Main Control Board, Assembly |  | X | X | X | X | [8 empty] | No
8733953205 | Thermostat Wire Clip | [5 empty] | X | X | X | X |  |  |  |  | No
8733941885 | Main Control Board |  | X | X | X | X | [8 empty] | No
8733953219 | Filter Rack Knob Screw | [5 empty] | X | X | X | X |  |  |  |  | No
8733941805 | Top cover veil | X | [8 empty] | X | X | X |  | No
8733941827 | Pipe joint | X | [8 empty] | X | X | X |  | No
8733941887 | Transformer |  | X | X | X | X | [8 empty] | No
8733941913 | Downflow Coil Support (Right) |  |  |  | X | X |  |  | X | X |  |  |  |  | No
8733941892 | Upflow Coil Support (Right) |  | X | X |  |  | X | X | [6 empty] | No
8733953201 | E-Box Assembly | [5 empty] | X | X | X | X |  |  |  |  | No
8733941894 | Support Bracket (Lower) |  | X | X |  |  | X | X | [6 empty] | No
8733941845 | Electrical installation bolt | [9 empty] | X | X | X | X | Yes
8733941822 | Block valve | X | [8 empty] | X | X | X |  | No
8733953210 | Drain Pan Straps | [5 empty] | X | X | X | X |  |  |  |  | No
8733953239 | Bolt 1 | [5 empty] | X | X | X | X |  |  |  |  | No
8733953216 | Drain Pan Plug | [5 empty] | X | X | X | X |  |  |  |  | No
8733953240 | Bolt 2 | [5 empty] | X | X | X | X |  |  |  |  | No
8733953238 | Sealing ring | [5 empty] | X | X | X | X |  |  |  |  | No
8733941907 | Mounting Legs, Motor |  | X | X | X | X | [8 empty] | No
8733941823 | One way valve | X | [8 empty] | X | X | X |  | No
8733941904 | Plate, Refrig Line Access |  | X | X | X | X | [8 empty] | No
8733941814 | Condenser connection pipe assembly | X | [8 empty] | X | X | X |  | No
8733941806 | Bolt and washer assembly | X | [8 empty] | X | X | X |  | No
8733941902 | Drain Pan Support |  | X | X | X | X | [8 empty] | No
8733953148 | High Voltage Terminal Block | [10 empty] | X | X | X | Yes
8733941857 | Pressure controller | [9 empty] | X | X | X |  | No
8733941900 | Drain Pan, Vertical |  | X |  |  |  | X | X | [6 empty] | No
8733941802 | Fan | X | [8 empty] | X | X |  |  | No
8733953207 | Cabinet | [7 empty] | X | X |  |  |  |  | No
8733953211 | Horizontal Drain Pan | [5 empty] | X | X | [6 empty] | No
8733953150 | Top Cover Assembly | [10 empty] | X | X |  | No
8733941890 | Downflow Coil Support (Left) |  | X | X | [10 empty] | No
8733953226 | Evaporator Input Pipe Assembly | [5 empty] | X | X | [6 empty] | No
8733941891 | Support Bracket (Middle) |  | X | X | [10 empty] | No
8733941925 | Blower Door, Cabinet |  |  |  | X | X | [8 empty] | No
8733941833 | Rear clapboard assembly | X | [8 empty] | X |  |  |  | No
8733953160 | Pressure Transducer | [10 empty] | X | X |  | No
8733941893 | Upflow Coil Support (Left) |  | X | X | [10 empty] | No
8733953217 | Filter Rack Cover | [5 empty] | X | X | [6 empty] | No
8733941817 | Pressure sensor | X | [8 empty] | X |  |  |  | No
8733953191 | Accumulator | [11 empty] | X | X | Yes
8733941895 | Cover, Filter |  | X | X | [10 empty] | No
8733941811 | Condenser | X | [9 empty] | X |  |  | No
8733941896 | Evaporator Assy |  | X | X | [10 empty] | No
8733953196 | Coil Access Panel | [5 empty] | X | X | [6 empty] | No
8733941897 | Distributor |  | X | X | [10 empty] | No
8733953159 | Reversing Valve | [10 empty] | X | X |  | No
8733941899 | Drain Pan, Horizontal |  | X | X | [10 empty] | No
8733953208 | Coil Support Bracket | [5 empty] | X | X | [6 empty] | No
8733941830 | Chassis Parts | X | [8 empty] | X |  |  |  | No
8733953214 | Drain Pan Support Rail | [5 empty] | X | X | [6 empty] | No
8733941819 | Block valve | X | [9 empty] | X |  |  | No
8733953220 | Evaporator Assembly | [5 empty] | X | X | [6 empty] | No
8733953218 | Filter Rack Cover | [7 empty] | X | X |  |  |  |  | No
8733953232 | TXV Connection Pipe | [5 empty] | X | X | [6 empty] | No
8733953243 | ECM Motor | [7 empty] | X | X |  |  |  |  | No
8733941889 | Downflow Coil Support (Right) |  | X | X | [10 empty] | No
8733941804 | Top conver assembly | X | [8 empty] | X |  |  |  | No
8733953212 | Horizontal Drain Pan | [7 empty] | X | X |  |  |  |  | No
8733941905 | Blower Door, Cabinet |  | X | X | [10 empty] | No
8733941924 | Coil Door, Cabinet |  |  |  | X | X | [8 empty] | No
8733941858 | Block valve | [9 empty] | X |  | X |  | No
8733941930 | Blower Motor |  |  |  | X | X | [8 empty] | No
8733941860 | High-pressure valve assembly | [9 empty] | X |  | X |  | No
8733953198 | Blower Access Panel | [5 empty] | X | X | [6 empty] | No
8733941908 | Blower Assy, Wrapper/Wheel |  | X |  |  |  | X | [7 empty] | No
8733953158 | One way EEV Valve | [10 empty] | X | X |  | No
8733941933 | Blower Assy, Wrapper/Wheel |  |  | X |  |  |  | X | [6 empty] | No
8733953203 | Top Panel | [5 empty] | X | X | [6 empty] | No
8733941861 | Electronic expansion valve body | [9 empty] | X |  |  | X | No
8733953206 | Cabinet | [5 empty] | X | X | [6 empty] | No
8733941866 | Compressor electric heater (with spring) | [9 empty] | X |  | X |  | No
8733953166 | Base pan | [10 empty] | X | X |  | No
8733941910 | Top Pan, Cabinet |  |  |  | X | X | [8 empty] | No
8733953170 | Compressor Return Temperature Sensor Th | [10 empty] | X | X |  | No
8733948339 | IPM Temp Sensor (TF) ass'y | [10 empty] | X | X |  | No
8733953172 | Compressor Discharge Temp Sensor T5 | [10 empty] | X | X |  | No
8733941912 | Wrapper, Cabinet |  |  |  | X | X | [8 empty] | No
8733941798 | Wire joint, 5p | X | [8 empty] | X |  |  |  | No
8733941888 | Wrapper, Cabinet |  | X | X | [10 empty] | No
8733953223 | Evaporator Output Pipe Assembly | [5 empty] | X | X | [6 empty] | No
8733941914 | Downflow Coil Support (Left) |  |  |  | X | X | [8 empty] | No
8733953229 | Evaporator Coil | [5 empty] | X | X | [6 empty] | No
8733941915 | Support Bracket (Middle) |  |  |  | X | X | [8 empty] | No
8733953235 | TXV | [5 empty] | X | X | [6 empty] | No
8733941881 | Top Pan, Cabinet |  | X | X | [10 empty] | No
8733953192 | DC Inverter compressor | [11 empty] | X | X | Yes
8733941824 | Electronic expansion valve body | X | [9 empty] | X |  |  | No
8733953199 | Blower Access Panel | [7 empty] | X | X |  |  |  |  | No
8733941916 | Upflow Coil Support (Right) |  |  |  | X | X | [8 empty] | No
8733953197 | Coil Access Panel | [7 empty] | X | X |  |  |  |  | No
8733941917 | Upflow Coil Support (Left) |  |  |  | X | X | [8 empty] | No
8733953204 | Top Panel | [7 empty] | X | X |  |  |  |  | No
8733953149 | Outdor ECM Motor | [10 empty] | X | X |  | No
8733953209 | Coil Support Bracket | [7 empty] | X | X |  |  |  |  | No
8733941919 | Cover, Filter |  |  |  | X | X | [8 empty] | No
8733953215 | Drain Pan Support Rail | [7 empty] | X | X |  |  |  |  | No
8733941921 | Distributor |  |  |  | X | X | [8 empty] | No
8733941922 | Drain Pan, Horizontal |  |  |  | X | X | [8 empty] | No
8733941903 | Coil Door, Cabinet |  | X | X | [10 empty] | No
8733941898 | Expansion valve |  | X | X | [10 empty] | No
8733953312 | Outdoor ECM Motor | [12 empty] | X | No
8733953178 | Fan blade | [11 empty] | X |  | No
8733953343 | Bottom Platform | [12 empty] | X | No
8733953186 | Condenser Output Assembly | [11 empty] | X |  | No
8733953231 | Evaporator Coil | [8 empty] | X |  |  |  |  | No
8733953187 | Reversing valve system assembly | [11 empty] | X |  | No
8733953327 | Low voltage wiring terminal | [12 empty] | X | No
8733953188 | Suction pipe assembly | [11 empty] | X |  | No
8733953185 | Condenser Input Assembly | [11 empty] | X |  | No
8733953189 | EEV Body | [11 empty] | X |  | No
8733953227 | Evaporator Input Pipe Assembly | [7 empty] | X | [5 empty] | No
8733953190 | Gauge Port Assembly | [11 empty] | X |  | No
8733953304 | Front Condenser Output Assembly | [12 empty] | X | No
8733941809 | Clapboard assembly 2 | X | [12 empty] | No
8733953320 | Discharge/Return Air Chamber Panel Assembly | [12 empty] | X | No
8733941810 | Condenser components | X | [12 empty] | No
8733953335 | High Pressure Switch | [12 empty] | X | No
8733953193 | Compresor Blanket | [11 empty] | X |  | No
8733953351 | Evaporator Assembly | [12 empty] | X | No
8733953194 | Service port access panel | [11 empty] | X |  | No
8733953175 | Control Board Access Panel | [11 empty] | X |  | No
8733953195 | Liquid Line Temperature Sensor T3L | [11 empty] | X |  | No
8733953182 | Condenser Coil Assembly | [11 empty] | X |  | No
8733941832 | Soundproof cotton | X | [12 empty] | No
8733953184 | Condenser Coil | [11 empty] | X |  | No
8733941796 | Main control board assembly | X | [12 empty] | No
8733953300 | Louver Panel | [12 empty] | X | No
8733941883 | Duct, Discharge |  | X | [11 empty] | No
8733953308 | Back Condenser Input Assembly | [12 empty] | X | No
8733941834 | Compressor electric heater (with spring) | X | [12 empty] | No
8733953316 | Discharge Air Access Panel | [12 empty] | X | No
8733941835 | Compressor Discharge Temp. sensor ass'ly | X | [12 empty] | No
8733953324 | Blower wheel ﬁxed plate | [12 empty] | X | No
8733941836 | Condenser Pipe Temp. sensor assembly | X | [12 empty] | No
8733953331 | Reversing Valve Assembly | [12 empty] | X | No
8733941837 | Side board assembly | [9 empty] | X |  |  |  | No
8733953339 | Filter Screen | [12 empty] | X | No
8733941838 | E-part box assembly | [9 empty] | X |  |  |  | No
8733953347 | Installation Board | [12 empty] | X | No
8733941839 | Main control board assembly | [9 empty] | X |  |  |  | No
8733953355 | Condenser Connection Board Assembly | [12 empty] | X | No
8733941840 | Three phase bridge | [9 empty] | X |  |  |  | No
8733953174 | Ambient Temperature Sensor T4 | [11 empty] | X |  | No
8733941841 | Wire joint, 3p | [9 empty] | X |  |  |  | No
8733953176 | Control Board Assembly | [11 empty] | X |  | No
8733941842 | Main control board assembly | [9 empty] | X |  |  |  | No
8733953180 | Round Coil Guard | [11 empty] | X |  | No
8733941843 | EMC Solenoid | [9 empty] | X |  |  |  | No
8733953221 | Evaporator Assembly | [7 empty] | X | [5 empty] | No
8733941844 | Electric reactor | [9 empty] | X |  |  |  | No
8733953233 | TXV Connection Pipe | [7 empty] | X | [5 empty] | No
8733941812 | Condenser output pipe assembly | X | [12 empty] | No
8733953225 | Evaporator Output Pipe Assembly | [8 empty] | X |  |  |  |  | No
8733941846 | BLDC | [9 empty] | X |  |  |  | No
8733953237 | TXV | [8 empty] | X |  |  |  |  | No
8733941813 | Condenser input pipe assembly | X | [12 empty] | No
8733953302 | Front Condenser Coil Assembly | [12 empty] | X | No
8733941794 | Upside board assembly | X | [12 empty] | No
8733953306 | Back Condenser Coil Assembly | [12 empty] | X | No
8733941848 | Side board assembly 2 | [9 empty] | X |  |  |  | No
8733953310 | Outdoor Fan Guard Bolts | [12 empty] | X | No
8733941849 | Side board assembly | [9 empty] | X |  |  |  | No
8733953314 | Plastic Fan Blade Guard | [12 empty] | X | No
8733941850 | Supporting board | [9 empty] | X |  |  |  | No
8733953318 | High/Low Voltage Electrical Access Panel | [12 empty] | X | No
8733941851 | Condenser assembly | [9 empty] | X |  |  |  | No
8733953322 | Indoor Blower Motor | [12 empty] | X | No
8733941852 | Condenser | [9 empty] | X |  |  |  | No
8733953326 | High/low Voltage Terminal Block Assembly | [12 empty] | X | No
8733941853 | Condenser outlet pipe assembly | [9 empty] | X |  |  |  | No
8733953329 | Ambient Temp Sensor (T4) | [12 empty] | X | No
8733941854 | Condenser inlet pipe assembly | [9 empty] | X |  |  |  | No
8733953333 | Service gauge port | [12 empty] | X | No
8733941855 | 4-way valve assembly | [9 empty] | X |  |  |  | No
8733953337 | Condenser Outlet Temp Sensor (T3L) | [12 empty] | X | No
8733941856 | 4-way valve assembly | [9 empty] | X |  |  |  | No
8733953341 | Compressor/Blower Chamber Panel | [12 empty] | X | No
8733941797 | Wire joint | X | [12 empty] | No
8733953345 | Main Control Board Access Panel | [12 empty] | X | No
8733941909 | Blower Motor |  | X | [11 empty] | No
8733953349 | Condensate Drain Panel | [12 empty] | X | No
8733941815 | 4-way valve assembly | X | [12 empty] | No
8733953353 | Evaporator Output Pipe Assembly | [12 empty] | X | No
8733941859 | Suction pipe assembly | [9 empty] | X |  |  |  | No
8733953357 | Mid-Section Platform Assembly | [12 empty] | X | No
8733941816 | 4-way valve assembly | X | [12 empty] | No
8733953173 | Outdoor Coil Temperature Sensor T3 | [10 empty] | X |  |  | No
8733941934 | Blower motor(3T small cabinet) |  |  | X | [10 empty] | No
8733953241 | ECM Motor | [5 empty] | X | [7 empty] | No
8733941803 | Motor | X | [12 empty] | No
8733953242 | ECM Motor | [6 empty] | X | [6 empty] | No
8733941862 | EEV solenoid wire rings | [9 empty] | X |  |  |  | No
8733941829 | Compressor | X | [12 empty] | No
8733941863 | Gas-liquid separator | [9 empty] | X |  |  |  | No
8733953179 | Side Coil Guard 1 | [11 empty] | X |  | No
8733941864 | meter connector assembly | [9 empty] | X |  |  |  | No
8733953181 | Side Coil Guard 2 | [11 empty] | X |  | No
8733941865 | Compressor | [9 empty] | X |  |  |  | No
8733953183 | Condenser Coil | [11 empty] | X |  | No
8733941818 | Pressure controller | X | [12 empty] | No
8733953224 | Evaporator Output Pipe Assembly | [7 empty] | X | [5 empty] | No
8733941867 | Compressor Discharge Temp. sensor ass'ly | [9 empty] | X |  |  |  | No
8733953230 | Evaporator Coil | [7 empty] | X | [5 empty] | No
8733941868 | Condenser Pipe Temp. sensor assembly | [9 empty] | X |  |  |  | No
8733953236 | TXV | [7 empty] | X | [5 empty] | No
8733941869 | Ambient Temp. sensor assembly | [9 empty] | X |  |  |  | No
8733953222 | Evaporator Assembly | [8 empty] | X |  |  |  |  | No
8733941870 | Soundproof cotton | [9 empty] | X |  |  |  | No
8733953228 | Evaporator Input Pipe Assembly | [8 empty] | X |  |  |  |  | No
8733941928 | Evaporator Assy |  |  |  | X | [9 empty] | No
8733953234 | TXV Connection Pipe | [8 empty] | X |  |  |  |  | No
8733941795 | E-part box assembly | X | [12 empty] | No
8733953299 | Corner Post | [12 empty] | X | No
8733941929 | Expansion valve |  |  |  | X | [9 empty] | No
8733953301 | Corner Post Panel 1 | [12 empty] | X | No
8733953145 | Control Board Access Panel | [10 empty] | X |  |  | No
8733953303 | Front Condenser Coil | [12 empty] | X | No
8733953146 | Control Board Assembly | [10 empty] | X |  |  | No
8733953305 | Front Condenser Input Assembly | [12 empty] | X | No
8733953147 | Outdoor Control Board | [10 empty] | X |  |  | No
8733953307 | Back Condenser Coil | [12 empty] | X | No
8733941820 | Suction pipe assembly | X | [12 empty] | No
8733953309 | Corner Post Panel 2 | [12 empty] | X | No
8733941931 | Evaporator Assy |  |  |  |  | X | [8 empty] | No
8733953311 | Outdoor Fan Guard | [12 empty] | X | No
8733941932 | Expansion valve |  |  |  |  | X | [8 empty] | No
8733953313 | Top Panel Assembly | [12 empty] | X | No
8733941821 | High pressure valve assembly | X | [12 empty] | No
8733953315 | Outdoor Fan Blade | [12 empty] | X | No
8733941799 | Capacitor for fan motor | X | [12 empty] | No
8733953317 | Column Assembly | [12 empty] | X | No
8733953200 | Electric Heat Collar | [5 empty] | X | [7 empty] | No
8733953319 | High/Low Voltage Conduit Connection Panel | [12 empty] | X | No
8733953151 | Side Coil Guard 1 | [10 empty] | X |  |  | No
8733953321 | Electric Heat Support Panel | [12 empty] | X | No
8733953152 | Round Coil Guard | [10 empty] | X |  |  | No
8733953323 | Blower Assembly | [12 empty] | X | No
8733953153 | Side Coil Guard 2 | [10 empty] | X |  |  | No
8733953325 | Blower Mounting Support Frame | [12 empty] | X | No
8733953154 | Condenser Coil Assembly | [10 empty] | X |  |  | No
8733952478 | Terminal Block | [12 empty] | X | No
8733953155 | Condenser Input Assembly | [10 empty] | X |  |  | No
8733953328 | Main Control Board Assembly | [12 empty] | X | No
8733953156 | Condenser Output Assembly | [10 empty] | X |  |  | No
8733953330 | Electric control box cover | [12 empty] | X | No
8733953157 | Reversing valve system assembly | [10 empty] | X |  |  | No
8733953332 | Reversing Valve | [12 empty] | X | No
8733941800 | E-part box ass'y | X | [12 empty] | No
8733953334 | Pressure transducer | [12 empty] | X | No
8733941807 | Supporting board | X | [12 empty] | No
8733953336 | Suction Pipe Assembly | [12 empty] | X | No
8733941825 | EEV solenoid wire rings | X | [12 empty] | No
8733953338 | Expansion Valve Assembly | [12 empty] | X | No
8733953161 | Suction pipe assembly | [10 empty] | X |  |  | No
8733953340 | Indoor Fan Motor Access Panel | [12 empty] | X | No
8733953162 | High pressure valve Assembly | [10 empty] | X |  |  | No
8733953342 | Compressor Support Base | [12 empty] | X | No
8733953163 | Gauge port assembly | [10 empty] | X |  |  | No
8733953344 | Drain Pan Assembly | [12 empty] | X | No
8733953164 | Accumulator | [10 empty] | X |  |  | No
8733953346 | Evaporator Connecting Plate Assembly | [12 empty] | X | No
8733953165 | DC Inverter Compressor | [10 empty] | X |  |  | No
8733953348 | Center Post | [12 empty] | X | No
8733941826 | meter connector assembly | X | [12 empty] | No
8733953350 | Return Air External Panel | [12 empty] | X | No
8733953167 | Compressor Blanket | [10 empty] | X |  |  | No
8733953352 | Evaporator Coil | [12 empty] | X | No
8733953168 | Service port access panel | [10 empty] | X |  |  | No
8733953354 | Evaporator Input Pipe Assembly | [12 empty] | X | No
8733953169 | Crankcase heater | [10 empty] | X |  |  | No
8733953356 | Discharge/Return Air Panel | [12 empty] | X | No
8733941808 | Clapboard assembly 1 | X | [12 empty] | No
8733953358 | Support Plate | [12 empty] | X | No
8733953171 | Liquid Line Temperature Sensor T3L | [10 empty] | X |  |  | No
8733941828 | Gas-liquid separator | X | [12 empty] | No